## Sheet1
Human Application – Serious Adverse Events closed in Q4 2021/22 – Details
Licence | Organisation | Case Number | Process Event Linked To | Description of Event
Number
11024 | BCH Stem Cell Bank | CAS-61486-B5Z9 | Procurement | Procurement postponed due to staffing levels
22681 | NHSBT Barnsley | CAS-61396-Q3C3 | Distribution | Out of date tissue issued
11094 | University Hospital of Wales | CAS-61535-R9R6 | Other (please specify) | Equipment failure
22518 | NHSBT Bristol | CAS-61901-B9S4 | Procurement | Positive sterility on procured sample
11094 | University Hospital of Wales | CAS-61403-D1G8 | Procurement | Equipment failure
22681 | NHSBT Barnsley | CAS-62063-W9Q4 | Procurement | Recipient did not receive planned donation.
22527 | Anthony Nolan Cord Blood Bank | CAS-60015-P7V2 | Procurement | Procurement should not have taken place
22518 | NHSBT Bristol | CAS-62076-Y8K6 | Testing | Possible positive microbiology on issued tissue
11041 | SCI Birmingham | CAS-62050-D9B7 | Storage | Loss of unit
11018 | NHSBT Liverpool | CAS-59594-T2J6 | Procurement | Procurement without adequate checks
11042 | NHSBT Barnsley | CAS-61205-Y1G6 | Procurement | Positive microbiology test result post-processing.
11065 | Gartnavel General Hospital | CAS-61552-R0W6 | Processing | Positive microbiology test result post-processing.
22513 | Anthony Nolan | CAS-61576-Q7P3 | Procurement | Positive microbiology test result on procured unit.
22513 | Anthony Nolan | CAS-61323-D0J0 | Procurement | Positive microbiology test result on procured unit.
22503 | Future Health Technologies Ltd | CAS-60926-C1S6 | Transportation | Human error resulted in tissue being transported outside the required temperature range.
22503 | Future Health Technologies Ltd | CAS-60928-D6G8 | Transportation | Human error caused the loss of the sample during transport.
22503 | Future Health Technologies Ltd | CAS-60967-X2M0 | Transportation | Human error resulted in tissue being transported outside the required temperature range.
22503 | Future Health Technologies Ltd | CAS-60296-C8J7 | Transportation | Human error resulted in tissue being transported outside the required temperature range.
22527 | Anthony Nolan Cord Blood Bank | CAS-62467-L1X8 | Procurement | Unexpected cell loss post-procurement
11052 | The London Clinic | CAS-62020-S3V7 | Procurement | Positive microbiology test result on procured unit
22513 | Anthony Nolan | CAS-61801-Y5P6 | Procurement | Positive microbiology test result on procured unit
22513 | Anthony Nolan | CAS-61829-S7Q3 | Procurement | Positive microbiology test result on procured unit
22513 | Anthony Nolan | CAS-61887-N3T5 | Procurement | Positive microbiology test result on procured unit.
11073 | Nottingham University Hospitals City Campus | CAS-60765-Y0X0 | Storage | Returned unit disposed of due to inappropriate storage.
11042 | SCI Oxford | CAS-60302-J8H5 | Procurement | Positive sterility on a procured unit.
11100 | Queen Elizabeth Hospital Birmingham | CAS-61293-Q2B0 | Procurement | Positive sterility on a procured unit.
22513 | Anthony Nolan | CAS-61938-Q5V1 | Procurement | Procurement not undertaken due to donor unavailability
22681 | NHSBT Barnsley | CAS-59792-G6W4 | Procurement | Positive microbiology test result post-processing
22522 | Smart Cells International | CAS-61602-K8H7 | Transportation | Equipment Failure
11081 | The Christie | CAS-59579-D6Q7 | Procurement | Positive microbiology on procured unit
11063 | BioVault | CAS-61562-Z8H8 | Procurement | Human error caused loss of a unit
11063 | BioVault | CAS-61560-X0V5 | Procurement | Human error caused loss of a unit
11063 | BioVault | CAS-61053-M8Z7 | Procurement | Human error caused loss of a unit.
22513 | Anthony Nolan | CAS-60286-P1K6 | Procurement | Positive microbiology on procured unit
22518 | NHSBT Bristol | CAS-60878-P1S1 | Procurement | Insufficient dose of cells collected
11018 | NHSBT Liverpool | CAS-61147-L2W9 | Testing | Positive microbiology on procured unit.
11053 | SCI Southampton | CAS-60387-K6M4 | Other (please specify) | Loss of a unit of cells.
22526 | Wessex Blood and Marrow Transplant Unit (Adult & Paediatric) | CAS-60388-K4P6 | Other (please specify) | Loss of a unit of cells.
22681 | NHSBT Barnsley | CAS-61687-W6Z5 | Procurement | Positive microbiology test result post processing.
22518 | NHSBT Bristol | CAS-61173-R1Q8 | Distribution | Inappropriate tissue distributed.
22681 | NHSBT Barnsley | CAS-61718-R3D0 | Procurement | Positive microbiology result post processing.
11020 | Tissue & Cell Technologies Ltd | CAS-61775-V9N7 | Processing | Positive microbiology result post-processing.
22596 | Manchester University NHS Foundation Trust - Central Hospitals | CAS-61022-Z8S6 | Processing | Release of concessional tissue outside of set criteria
22513 | Anthony Nolan | CAS-61039-L9B8 | Processing | Release of concessional tissue outside of set criteria.
11018 | NHSBT Liverpool | CAS-60892-S0P8 | Procurement | Equipment failure
11052 | The London Clinic | CAS-59482-V1H2 | Procurement | Positive microbiology test result on procured unit.
11052 | The London Clinic | CAS-61746-T5H2 | Procurement | Positive microbiology test on procured unit
11052 | The London Clinic | CAS-61747-F3T9 | Procurement | Positive microbiology test result on procured unit.
22513 | Anthony Nolan | CAS-61751-M9H4 | Procurement | Positive microbiology test on procured unit.
11052 | The London Clinic | CAS-61331-D0S1 | Procurement | Positive microbiology test on procured unit.
22513 | Anthony Nolan | CAS-61312-P1T7 | Procurement | Positive microbiology test on procured unit.
11042 | SCI Oxford | CAS-61072-T3H7 | Procurement | Stem cells not collected.
11053 | SCI Southampton | CAS-60815-H6R1 | Other (please specify) | Loss of unit due to potential leak
22513 | Anthony Nolan | CAS-61514-X8B6 | Testing | Procedure not followed
11048 | Royal Brompton Hospital | CAS-60964-D8B6 | Procurement | Clinical decision to release tissue under consession
22526 | Wessex Blood and Marrow Transplant Unit (Adult & Paediatric) | CAS-60809-W5V5 | Other (please specify) | Loss of cells due to line seals.
11100 | Queen Elizabeth Hospital Birmingham | CAS-61896-P9J6 | Transportation | Loss of unit
22513 | Anthony Nolan | CAS-61118-N2T6 | Procurement | Positive sterility on procured unit
11118 | Hammersmith Hospital | CAS-61095-W5M4 | Procurement | Positive sterility on procured unit
11118 | Hammersmith Hospital | CAS-61506-S9L5 | Processing | Initial sterility results missing
22522 | Smart Cells International | CAS-60683-N0C4 | Procurement | Sample mix-up resulting in loss of unit
11118 | Hammersmith Hospital | CAS-61631-F3C9 | Procurement | Positive sterility on unit pre-processing
Human Application – Serious Adverse Reactions closed in Q4 2021/22 – Details
Licence | Organisation | Case Number | Donor or Recipient Affected | Description of Reaction
Number
22497 | Welsh Blood Service | CAS-61713-Z0R5 | Donor | Donor reaction attributed to incorrect solution used to flush cannula.
22497 | Welsh Blood Service | CAS-61703-Y0Y2 | Donor | Donor reaction