## Sheet1
Human Application – Serious Adverse Events closed in Q1 2024/25 – Details
Licence | Organisation | Case Number | Process Event Linked To | Description of Event
Number
22526 | Wessex Blood and Marrow Transplant Unit (Adult & Paediatric) | CAS-69982-D5S2 | Testing | Positive microbiology test result post-processing.
22522 | Smart Cells International | CAS-70243-V0N7 | Transportation | Incorrect use of transport box, samples not transported at validated temperature.
11041 | SCI Birmingham | CAS-67085-P9J6 | Processing | Positive sterility result post-processing.
22513 | Anthony Nolan | CAS-67087-B9X9 | Processing | Positive sterility result post-processing.
11083 | Cells4Life Group LLP | CAS-69314-G0G1 | Transportation | Time in transit outside validated parameters
11083 | Cells4Life Group LLP | CAS-60247-C5Q9 | Transportation | Time in transit outside validated parameters
11083 | Cells4Life Group LLP | CAS-66995-D2Y0 | Procurement | Unlicensed procurement
11083 | Cells4Life Group LLP | CAS-64457-M3C6 | Procurement | Unlicensed procurement
11083 | Cells4Life Group LLP | CAS-62397-J9D9 | Procurement | Unlicensed procurement
11018 | NHSBT Liverpool | CAS-69317-M1V8 | Storage | Bacteriology plates stored outside manufacturer's temperature requirements .
22534 | Mid Yorkshire Hospitals NHS Trust | CAS-70768-C7P3 | Transportation | Loss of a unit.
11041 | SCI Birmingham | CAS-70422-M1X9 | Testing | Initial sterility check post-processing was positive
11018 | NHSBT Liverpool | CAS-70376-R3C3 | Procurement | Unnecessary procurement
11106 | John Radcliffe Hospital | CAS-61336-J3H7 | Processing | Tissues processed outside validated parameters
22518 | NHSBT Bristol | CAS-70852-P2Z7 | Procurement | Recipient conditioned before procurement date
11066 | Addenbrooke's Hospital | CAS-69332-L3Z6 | Testing | Incorrect results reported
22503 | Future Health Technologies Ltd | CAS-68231-M7P7 | Transportation | Unit not transported at validated temperature
11106 | John Radcliffe Hospital | CAS-69985-C7F3 | Procurement | Positive microbiology on procured unit.
22681 | NHSBT Barnsley | CAS-69092-B5H6 | Procurement | Positive microbiology on procured unit.
22513 | Anthony Nolan | CAS-69089-K1L1 | Procurement | Positive microbiology on procured unit.
11052 | The London Clinic | CAS-69275-M1G7 | Testing | Positive microbiology test result on procured unit.
11025 | University College London Hospitals | CAS-69654-D3D0 | Processing | Positive sterility due to use of the incorrect consumables.
22513 | Anthony Nolan | CAS-69658-J9K4 | Processing | Positive sterility due to use of the incorrect consumables.
22513 | Anthony Nolan | CAS-69267-S5D4 | Procurement | Delays due to incorrect labelling.
22526 | Wessex Blood and Marrow Transplant Unit (Adult & Paediatric) | CAS-69925-Q0R1 | Procurement | Positive sterility on a procured unit.
22638 | The Royal London Hospital | CAS-70169-V8Y6 | Transportation | Loss of cells
11052 | The London Clinic | CAS-70166-C6L6 | Transportation | Loss of cells
11052 | The London Clinic | CAS-70388-T5K1 | Procurement | Positive sterility result
11052 | The London Clinic | CAS-70671-P2L0 | Transportation | Transport delay due to communication failure.
11053 | SCI Southampton | CAS-69969-C4N1 | Testing | Positive microbiology test result post processing.
11042 | SCI Oxford | CAS-70092-H2S0 | Procurement | Positive microbiology test result on procured unit
22518 | NHSBT Bristol | CAS-70848-Y4D0 | Procurement | Positive microbiology result on procured unit
11132 | Royal Devon and Exeter Hospital | CAS-62855-R3N3 | Procurement | Unexpected event during procurement resulting in loss of cells
22513 | Anthony Nolan | CAS-67643-C5M7 | Testing | Mandatory serology testing not performed
11118 | Hammersmith Hospital | CAS-66353-L0F7 | Processing | Positive sterility result
11118 | Hammersmith Hospital | CAS-67777-S6D2 | Procurement | Positive sterility result
11005 | Birmingham Children's Hospital | CAS-64959-G1P5 | Procurement | Positive sterility on procured unit
11052 | The London Clinic | CAS-68779-P9J0 | Procurement | Positive sterility on procured unit
22513 | Anthony Nolan | CAS-68783-J9D0 | Procurement | Positive sterility on procured unit
22518 | NHSBT Bristol | CAS-69265-M5V8 | Other (please specify) | Positive microbiology test result
11041 | SCI Birmingham | CAS-66303-X4R4 | Procurement | Positive sterility on procured unit
11041 | SCI Birmingham | CAS-69767-K0Y8 | Procurement | Positive microbiology test result
11053 | SCI Southampton | CAS-69764-J7J6 | Procurement | Positive sterility on received sample
11053 | SCI Southampton | CAS-69930-B7H5 | Procurement | Positive sterility on received sample
11053 | SCI Southampton | CAS-69193-Z1Q3 | Procurement | Positive sterility on received sample
22513 | Anthony Nolan | CAS-67460-H9J6 | Processing | Initial sterility check post-processing was positive.
11052 | The London Clinic | CAS-66913-C5W7 | Procurement | Positive sterility on procured unit
11052 | The London Clinic | CAS-68305-B2N4 | Procurement | Positive sterility on procured unit
11052 | The London Clinic | CAS-68170-V1R7 | Procurement | Positive sterility on procured unit
11052 | The London Clinic | CAS-69463-Z9D7 | Procurement | Positive sterility on procured unit
22513 | Anthony Nolan | CAS-69466-Z0X1 | Procurement | Positive sterility on procured unit
11052 | The London Clinic | CAS-69715-C2T9 | Procurement | Positive sterility on procured unit
22513 | Anthony Nolan | CAS-69742-N2R1 | Procurement | Positive sterility on procured unit
11052 | The London Clinic | CAS-68320-W1G0 | Procurement | Positive sterility on procured unit
22513 | Anthony Nolan | CAS-68327-G8T8 | Procurement | Positive sterility on procured unit
11052 | The London Clinic | CAS-70311-T1Q1 | Procurement | Positive sterility on procured unit
11053 | SCI Southampton | CAS-63880-Y8Z5 | Procurement | Positive sterility result post processing
22518 | NHSBT Bristol | CAS-66417-J2S9 | Procurement | Positive sterility on procured unit
22681 | NHSBT Barnsley | CAS-67479-Q5V5 | Procurement | Initial sterility check post-processing was positive
22518 | NHSBT Bristol | CAS-66746-W0Y2 | Distribution | Incorrect unit released
11018 | NHSBT Liverpool | CAS-69990-H3B9 | Procurement | Positive sterility result
11010 | The Jack Copland Centre | CAS-70238-Z6M1 | Procurement | Positive microbiology test result, possibly donor derived
22513 | Anthony Nolan | CAS-68986-H0Y8 | Procurement | Positive sterility on procured unit
11010 | The Jack Copland Centre | CAS-70672-Z8F4 | Distribution | Inappropriate tissue distributed due to incorrect data entry
22681 | NHSBT Barnsley | CAS-69703-K4V8 | Procurement | Positive sterility on procured unit
22513 | Anthony Nolan | CAS-70306-J3K5 | Transportation | Transportation delay due to communication failure
Human Application – Serious Adverse Reactions closed in Q1 2024/25 – Details
Licence | Organisation | Case Number | Donor or Recipient Affected | Description of Reaction
Number