## Sheet1
Human Application – Serious Adverse Events closed in Q3 2024/25 – Details
Licence | Organisation | Case Number | Process Event Linked To | Description of Event
Number
11018 | NHSBT Liverpool | CAS-71637-M5P6 | Other (please specify) | Tissue incorrectly labelled and distributed
11018 | NHSBT Liverpool | CAS-71638-N9L6 | Other (please specify) | Tissue incorrectly labelled and distributed
22522 | Smart Cells International | CAS-70957-T8Y4 | Transportation | Time in transit outside validated parameters
22518 | NHSBT Bristol | CAS-71611-J6X6 | Processing | Loss of tissue due to equipment failure
11055 | Royal Liverpool University Hospital | CAS-71661-T6L3 | Testing | Positive sterility result post processing
11018 | NHSBT Liverpool | CAS-71765-C4R3 | Distribution | Tissue unsuitable due to size.
11055 | Royal Liverpool University Hospital | CAS-70308-F1P5 | Testing | Positive sterility test results not communicated
11018 | NHSBT Liverpool | CAS-72431-F1S1 | Testing | Expired reagent used for sterility tests
22681 | NHSBT Barnsley | CAS-71671-V5D2 | Processing | Loss of cells during processing
22681 | NHSBT Barnsley | CAS-71655-N7Z9 | Processing | Loss of cells during processing
11083 | Cells4Life Group LLP | CAS-69842-B4V3 | Procurement | Unlicensed procurement
11083 | Cells4Life Group LLP | CAS-70923-W6P4 | Transportation | Incorrect use of transport box, unit not transported at validated temperature
11083 | Cells4Life Group LLP | CAS-71082-V0P7 | Procurement | Unlicensed procurement.
11052 | The London Clinic | CAS-72285-H7D4 | Procurement | Positive sterility on procured product
11083 | Cells4Life Group LLP | CAS-68469-H8H9 | Transportation | Incorrect use of transport box, unit not transported at validated temperature
11010 | The Jack Copland Centre | CAS-71579-G4D8 | Other (please specify) | Tissue not suitable for use.
22503 | Future Health Technologies Ltd | CAS-66713-H1N9 | Transportation | Tissues and cells received outside validated parameters.
22503 | Future Health Technologies Ltd | CAS-68230-L6M8 | Transportation | Tissues and cells received outside validated parameters.
22503 | Future Health Technologies Ltd | CAS-68383-T4B5 | Transportation | Incorrect use of transport box, unit not transported at validated temperature.
22503 | Future Health Technologies Ltd | CAS-68640-B1H8 | Transportation | Incorrect use of transport box, unit not transported at validated temperature.
22503 | Future Health Technologies Ltd | CAS-70131-K0M4 | Transportation | Samples delayed in transit.
22503 | Future Health Technologies Ltd | CAS-69983-M7C2 | Transportation | Incorrect use of transport box, unit not transported at validated temperature.
22503 | Future Health Technologies Ltd | CAS-70067-X4J6 | Transportation | Incorrect use of transport box, unit not transported at validated temperature.
22503 | Future Health Technologies Ltd | CAS-68382-J9J0 | Transportation | Incorrect use of transport box, unit not transported at validated temperature.
22503 | Future Health Technologies Ltd | CAS-70325-N8T1 | Transportation | Samples delayed in transit.
22503 | Future Health Technologies Ltd | CAS-70254-L8K1 | Transportation | Samples delayed in transit.
11073 | Nottingham University Hospitals City Campus | CAS-70393-Z2Y8 | Processing | Stored cells at incorrect concentration.
22513 | Anthony Nolan | CAS-69401-J6Z7 | Procurement | Positive microbiology test result on procured unit.
11094 | University Hospital of Wales | CAS-70637-N7P8 | Processing | Positive sterility result post-processing.
11094 | University Hospital of Wales | CAS-71961-P7B9 | Processing | Positive sterility result post-processing.
22503 | Future Health Technologies Ltd | CAS-70133-P6Z6 | Transportation | Unit not transported at validated temperature
22503 | Future Health Technologies Ltd | CAS-71681-F3Q9 | Transportation | Unit not transported at validated temperature
22503 | Future Health Technologies Ltd | CAS-72276-S1M6 | Transportation | Unit not transported at validated temperature
22518 | NHSBT Bristol | CAS-71525-S7R9 | Procurement | Equipment failure resulted in a further collection.
22610 | Sunderland Royal Hospital | CAS-71508-R2S4 | Storage | Incorrect use of equipment resulted in loss of tissue.
22518 | NHSBT Bristol | CAS-71524-V5R9 | Processing | positive sterility result
11094 | University Hospital of Wales | CAS-66163-L9L1 | Testing | Additional donor testing not undertaken
11066 | Addenbrooke's Hospital | CAS-72650-D0Q1 | Materials | Equipment issue led to leakage of stem cells
22513 | Anthony Nolan | CAS-67262-S8R1 | Procurement | Positive sterility on procured unit
11118 | Hammersmith Hospital | CAS-70451-Y1P0 | Testing | Mandatory serology testing not performed on day of procurement
22513 | Anthony Nolan | CAS-71466-R7V7 | Procurement | Positive sterility on procured unit
22513 | Anthony Nolan | CAS-68748-K8G8 | Procurement | Positive sterility pre- and post-processing
11118 | Hammersmith Hospital | CAS-69395-M0D4 | Procurement | Positive sterility pre- and post-processing
11072 | Addenbrooke's Hospital | CAS-69682-G5S7 | Storage | Loss of tissue products
11072 | Addenbrooke's Hospital | CAS-69773-J1L2 | Transportation | Loss of tissue
22513 | Anthony Nolan | CAS-71583-Y1L4 | Procurement | Positive sterility result
11081 | The Christie | CAS-71580-P0Y3 | Procurement | Positive sterility result
22681 | NHSBT Barnsley | CAS-62401-H5P9 | Procurement | Insufficient collection necessitated an additional procurement.
22518 | NHSBT Bristol | CAS-67234-T3H1 | Procurement | Donor factors may have contributed to clotting of unit resulting in low cell viability
11052 | The London Clinic | CAS-71592-L9F0 | Testing | Incorrect results reported
Human Application – Serious Adverse Reactions closed in Q3 2024/25 – Details
Licence | Organisation | Case Number | Donor or Recipient Affected | Description of Reaction
Number
11016 | Royal Free Hospital | CAS-71394-B1L5 | Donor | Patient reaction possibly procurement related